## storage_data
tank_height | tank_footprint | no_of_layers | tank_u_value | charging_massflow | discharging_massflow | charging_temp | discharging_temp_reduction | discharging_min_return_water_temp | initially_charged | init_charging_temp
2 | 40 | 10 | 0.2 | 0.02 | 0.02 | 95 | 20 | 4 | FALSE | 35

## pvt_data
max_efficiency | loss_coeff_1 | loss_coeff_2 | massflow | inclination_angle_south | inclination_angle_west | inclination_angle_east | surface_area_horiz | surface_area_south | surface_area_west | surface_area_east | max_return_temp | collector_temp
0.75 | 3.37 | 0.0104 | 0.0125 | 30 | 90 | 30 | 0 | 160 | 0 | 0 | 95 | 14

## house_data
heating_demand | footprint | target_temp | massflow | temp_drop | autarky_thermal
115 | 900 | 14 | 0.1 | 25 | 0.35

## hp_data
condenser_duty | compressor_duty | is_air_source | second_law_efficiency | max_cop | base_cop | temp_lift | massflow_max | massflow_min | massflow_air | min_approach_temp | part_load_efficiency | evaporator_temp_max | evaporator_temp_min | condenser_temp_max
12000 | 3000 | true | 0.55 | 6 | 4 | 45 | 0.573 | 0.004167 | 1.63 | 1.5 | 0.5 | 20 | -20 | 55

## pv_data
cell_efficiency | inclination_angle_south | inclination_angle_west | inclination_angle_east | surface_area_horiz | surface_area_south | surface_area_west | surface_area_east | collector_temp
0.23 | 30 | 90 | 30 | 0 | 160 | 0 | 0 | 14

## weather_data
city | solar_latitude
Luzern | 46.6

## mediator_data
storage_is_included | pvt_is_included | house_is_included | pv_is_included | hp_is_included | pvt_charges_storage | connection_pv_hp | hp_charges_storage | city | house_discharges_storage
true | true | true | true | true | false | true | true | Luzern | true

## simulator_data
no_of_time_steps | time_step | repetition_period
8760 | 3600 | 3