## storage_data
is_included | tank_height | tank_footprint | no_of_layers | time_step | no_of_time_steps | tank_u_value | charging_massflow | discharging_massflow | charging_temp | discharging_temp_reduction | discharging_min_return_water_temp | initially_charged | init_charging_temp | tim
true | 2 | 40 | 10 | 3600 | 8760 | 0.2 | 0.02 | 0.02 | 95 | 20 | 10 | true | 50
tim

## pvt_data
is_included | time_step | no_of_time_steps | max_efficiency | loss_coeff_1 | loss_coeff_2 | massflow | time_step | no_of_time_steps | inclination_angle_south | inclination_angle_west | inclination_angle_east | surface_area_horiz | surface_area_south | surface_area_west | surface_area_east | max_return_temp | collector_temp | solar_latitute
true | 3600 | 8760 | 0.75 | 3.37 | 0.0104 | 0.0125 | 3600 | 8760 | 30 | 90 | 30 | 0 | 160 | 0 | 0 | 95 | 14 | 46.6

## house_data
is_included | heating_demand | footprint | target_temp | massflow | temp_drop | autarky_thermal
true | 115 | 900 | 14 | 0.1 | 25 | 0.2

## mediator_data
storage_is_included | pvt_is_included | house_is_included | pvt_charges_storage | city | house_discharges_storage | no_of_time_steps | time_step
true | true | true | true | Luzern | TRUE | 8760 | 3600